# Subsystem command reference
This section summarizes the Standard Commands for Programmable Instruments (SCPI) available to program the PSU over the remote interface.
- ABORt
- CALibrate
- DIAGnostic
- DISPlay
- FETCh (not implemented yet)
- INITiate
- INSTrument
- MEASure
- MEMory
- MMEMory (not implemented yet)
- OUTPut
- SENSe
- SOURce
- STATus
- SYSTem
- TRIGger
## ABORt
Syntax	ABORt
Description	The ABORt command resets the trigger system and places all trigger sequences in the IDLE state. Any actions related to the trigger system that are in progress will be also aborted as quickly as possible. As a result, subsequent triggers have no effect on the input level. / ABORt is also executed at power-on and upon execution of the *RST command.
Return	None
Usage example	ABORt
Related Commands	*RST / INITiate / [SOURce[<n>]]:CURRent:TRIGgered / [SOURce[<n>]]:VOLTage:TRIGgered / [SOURce[<n>]]:LIST:COUNt

### ABORt:ELOG
Not implemented yet